Certificate

SEC 08693

Issued: March 15, 2020; Last update Sep 30, 2024

Certifiers,Inc. hereby confirms that the:

2931 Version 1.3.x Programmable Logic Controller

Secure Control, Inc.

Some City, CA

Conforms to 62443 requirements listed, and to requirements shown in the table:

ANSI/ISA-62443-4-1-2018, IEC 62443-4-1:2018 Secure product development lifecycle requirements

ANSI/ISA-62443-4-2-2018, IEC 62443-4-2:2019 Technical security requirements for IACS components

Meeting requirements for: Capability Security Level 2

The normative documents and issue dates that define this certification are listed at www.isasecure.org.

Application restrictions: The unit shall be operated in a network and operational environment meeting the assumptions in the product certification report.

Product certificate remains valid under conditions:

- The following SDLA certificate remains valid: ISASecure® Security Development Lifecycle Assurance certificate number SEC 08691 issued to Secure Control, Inc.

- 2931 Version 1.3.x Programmable Logic Controller remains under the security management practices thereby certified

| Assessment | Subject under Assessment | Requirements | Date | Current releases at time of assessment |
| --- | --- | --- | --- | --- |
| ISASecure® CSA evaluation | 2931 Version 1.3.x Programmable Logic Controller | ISASecure Component Security Assurance 1.0.0 Capability Security Level 2 requirements for embedded devices and network devices, referencing errata CSA-102 v1.0 | March 15, 2020 | 1.3.1 |
| SDLA recertification For SEC 08691 | Development process for supplier through Aug 31, 2021 | ISASecure Security Development Lifecycle Assurance v2.0.1 | Sep 30, 2021 | 1.3.2, 1.3.3 |
| SDLA recertification For SEC 08691 | Development process for supplier through Aug 31, 2024 | ISASecure Security Development Lifecycle Assurance v2.0.1 | Sep 30, 2024 | 1.3.5, 1.3.6, 1.3.7 |

__________________________

Authorized representative

Chartered Laboratory:

Certifiers, Inc.

Another City, NY, USA

License: nnnnn